# GENERAL

## SECTION INCLUDES

### Materials and installation for pipe culverts.

## RELATED SECTIONS

### Section 01 33 00 - Submittal Procedures.

### Section 01 61 00 - Common Product Requirements.

### Section 31 00 00.01 – Earth Work and Related Work.

### Section 31 05 16 – Aggregates for Earthwork.

### Section 31 23 33.01 - Excavating, Trenching and Backfilling.

## references

### American Society for Testing and Materials International, (ASTM)

#### ASTM C117, Standard Test Method for Material Finer Than 0.075 mm (No. 200) Sieve in Mineral Aggregates by Washing.

#### ASTM C136, Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates.

#### ASTM D698, Standard Test Method for Laboratory Compaction Characteristics of Soil Using Standard Effort (12,400 ft-lbf/ft3 (600 kN-m/m3)).

#### ASTM D 1751, Standard for Specification for Performed Expansion joint Filler for Concrete Paving and Structure Construction (Non-extruding and Resilient Bituminous Types).

### Canadian General Standards Board (CGSB)

#### CAN/CGSB-8.1, Sieves, Testing, Woven Wire, Inch Series.

#### CAN/CGSB-8.2, Sieves, Testing, Woven Wire, Metric.

### Canadian Standards Association (CSA International)

#### CSA B1800 Series, Thermoplastic Non-pressure Piping Compendium.

#### CSA A3000, Cementitious Materials Compendium.

## SUBMITTALS

### Inform Owner at least four (4) weeks prior to commencing work, of proposed source of bedding materials and provide access for sampling.

### Submit manufacturer's test data and certification at least four (4) weeks prior to beginning work.

### Certification to be marked on pipe.

## DELIVERY, STORAGE AND HANDLING

### Deliver, store and handle materials in accordance with Section 01 61 00 - Common Product Requirements.

# Products

## CORRUGATED STEEL PIPE

### Corrugated steel pipe: to CSA-G401.

### Water-tight cut-off collars: as indicated.

### Prefabricated end sections wing walls: as indicated.

## GRANULAR BEDDING AND BACKFILL

### Granular bedding and backfill material to Section 31 05 16 – Aggregates for Earthwork and following requirements:

#### Crushed pit run or screened stone, gravel or sand.

#### Gradations to be within limits specified when tested to ASTM C136 and ASTM C117. Sieve sizes to CAN/CGSB-8.1 CAN/CGSB-8.2.

### Table

| Sieve Designation | % Passing |
| --- | --- |
| 200 mm | - |
| 75 mm | 100 |
| 50 mm | - |
| 38.1 mm | - |
| 25 mm | - |
| 19 mm | - |
| 12.5 mm | - |
| 9.5 mm | - |
| 4.75 mm | 25-85 |
| 2.00 mm | - |
| 0.425 mm | 5-30 |
| 0.180 mm | - |
| 0.075 mm | 0-10 |

### Concrete mixes and materials for bedding, cradles, encasement, supports: to Section 03 30 00- Cast-in-Place Concrete.

# Execution

## TRENCHING

### Do trenching Work in accordance with Section 31 23 33.01 - Excavating Trenching and Backfilling.

### Obtain Owner’s approval of trench line and depth prior to placing bedding material or pipe.

## BEDDING

### Dewater excavation, as necessary, to allow placement of culvert bedding in dry condition.

### Place minimum thickness of 200 mm of approved granular material on bottom of excavation and compact to minimum 95% of corrected maximum dry density.

### Shape bedding to fit lower segment of pipe exterior so that width of at least 50% of pipe diameter is in close contact with bedding and to camber as indicated or as directed by Owner, free from sags or high points.

### Place bedding in unfrozen condition.

## LAYING CORRUGATED STEEL PIPE CULVERTS

### Commence pipe placing at downstream end.

### Ensure bottom of pipe is in contact with shaped bed or compacted fill throughout its length.

### Lay pipe with outside circumferential laps facing upstream and longitudinal laps or seams at side or quarter points.

### Lay paved invert or partially lined pipe with longitudinal centre line of paved segment coinciding with flow line.

### Do not allow water to flow through pipes during construction except as permitted by Owner.

## JOINTS: CORRUGATED STEEL CULVERTS

### Corrugated steel pipe:

#### Match corrugations or indentations of coupler with pipe sections before tightening.

#### Tap couplers firmly as they are being tightened, to take up slack and ensure snug fit.

#### Insert and tighten bolts.

#### Repair spots where damage has occurred to spelter coating by applying two coats of asphalt paint approved by Owner or two coats of zinc rich paint.

## BACKFILLING

### Backfill around and over culverts as indicated or as directed by Owner.

### Place granular backfill material backfill material, approved by Owner, in 150 mm layers to full width, alternately on each side of culvert, so as not to displace it laterally or vertically.

### Compact each layer to 95% corrected maximum dry density maximum density to ASTM D698 taking special care to obtain required density under haunches.

### Protect installed culvert with minimum 600 mm cover of compacted fill before heavy equipment is permitted to cross. During construction, width of fill, at its top, to be at least twice diameter or span of pipe and with slopes not steeper than 1:2.

### Place backfill in unfrozen condition.

END OF SECTION