NL Master Specification Guide

for Public Funded Buildings

Re-Issued 2021/05/31   
Section 33 71 73.01 – Overhead Electrical Service 
Page 1 of 2

Part 1 General

1.1 Related Sections

.1 Section 01 33 00 – Submittal Procedures.

.2 Section 01 74 21 – Construction/Demolition Waste Management and Disposal.

.3 Section 26 05 00 - Common Work Results - Electrical.
.4 Section 26 05 21 - Wire and Cables 0-1000 V.

.5 Section 26 05 28 - Grounding - Secondary.

.6 Section 26 05 34 - Conduits, Conduit Fastenings and Conduit Fittings.

.7 Section 26 09 23.01 - Metering and Switchboard Instruments.

1.2 References
.1 Canadian Standards Association (CSA)

.1 CAN/CSA-C83, Communication and Power Line Hardware.

1.3 Regulatory Requirements

.1 Co-ordinate and meet requirements of power supply authority. Ensure availability of power when required.  Use cash allowance as per Section 01 21 00 – Allowances to cover costs associated with contribution-in-aid of construction to Utility authority for provision of building permanent power supply 
Part 2 Products

2.1 Material

.1 Service mast: rigid, heavy duty, epoxy coated galvanized steel, suitable for attachment of support clamps, insulator rack, weatherhead, service drop fittings.

.2 Service mast support devices: as indicated. 

.3 Insulator rack: to CAN/CSA-C83, one, two, three or four wire, heavy duty, as indicated.

.4 Weatherhead: epoxy coated galvanized steel to approval of supply authority.

.5 Epoxy coated rigid steel galvanized conduit, fittings: in accordance with Section 26 05 24 - Conduits, Conduit Fastenings and Conduit Fittings.

.6 Service drop conductors and supporting cable: in accordance with Section 26 05 21 - Wires and Cables (0-1000 V), copper, type RW90 XLPE, size and number of conductors as indicated.

.7 Weatherproof meter socket: in accordance with Section 26 09 23.02 - Metering and Switchboard Instruments and approval of supply authority.

Part 3 EXECUTION

3.1 Installation

.1 Install service mast, insulator rack, weatherhead.

.2 Install meter socket and conduit.

.3 Install service drop conductors allowing sufficient conductor length for connection to service equipment.

.4 Allow sufficient conductor length for connection to supply by power supply authority.

.5 Allow sufficient conductor length for drip loops.

.6 Make grounding connections in accordance with Section 26 05 28 - Grounding - Secondary.

3.2 Field Quality Control

.1 Perform tests in accordance with Section 26 05 00 - Common Work Results – Electrical and Section 01 91 13.13 – Commissioning (Cx) Requirements.
.2 Perform additional tests as required by authority having jurisdiction.

END OF SECTION

Ver. 10/22

